HLHVH Risk assessment February 2026

| Hutton le Hole Village Hall Risk Assessment |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewed by Heather Pettiford January 2025 Reviewed by Jane Hill February 2026 Next Review date February 2028 Please note: All hall users are responsible for conducting their own risk assessments for activities specific to their booking. |  |  |  |  |  |
| What are the hazards? | Who might be harmed and how? | Existing Measures | Further Actions | Who will carry out the actions by when? | Completed |
| Slips, trips & Falls |  |  |  |  |  |
| Uneven surfaces, clutter, etc. | Users of the hall & car park may suffer injuries such as fractures if they slip or fall | General: |  |  |  |
|  |  | All areas of the hall and car parks are well maintained, clean and tidy, with no clutter, litter or trailing leads | Surface of the ‘back garden’ is very slippery and needs to be pressure washed annually in the spring | In the meantime, hirers are reminded that the outside areas can be very slippery in the winter. |  |
|  |  | Hall users are reminded not to block fire exits in the ‘reminders’ notice. |  |  |  |
|  |  | Hall users are reminded to make themselves aware of the fire exits and procedures before starting their activities in the ‘reminders’ notice |  |  |  |
|  |  | A list of key holders and key box code holders is kept on file Code for the key box to be changed annually |  |  |  |
|  |  | Overflow car park/tennis court: |  |  |  |
|  |  | "Use at own risk" sign fitted | The driveway from the overflow car park to the main road is uneven, unlit at night. The driveway to the overflow car park and tennis court is not owned by the Village Hall, no further action is practical. |  |  |
|  |  | Main entrance/hall: |  |  |  |
|  |  | Entrance step clearly marked | A sign has been displayed to indicate that hall users should ask for assistance if they require help in using the access ramp. Completed January 2025 |  |  |
|  |  | Stage |  |  |  |
|  |  | Stage curtains left open after use, reminder notice fitted. | A photo of how to store chairs, tables, screens and other equipment safely on the stage is displayed. All chairs should be stored on the stage rather than the balcony/ snooker room |  |  |
|  |  | Balcony |  |  |  |
|  |  | Groups using the balcony to be informed that there is a risk of trips/falls via a notice/a copy of the risk assessment. | Users are reminded of the risk of trips/falls in the balcony area in a notice. |  |  |
|  |  | Snooker room |  |  |  |
|  |  | Kept tidy and clear of clutter. | Some unsold bric a brac has accumulated in the snooker room | Bric a brac taken to the tip by committee members annually. |  |
|  |  | Cupboards to be locked as recommended in fire assessment All snooker room cupboards to be locked |  |  |  |
|  |  | All darts players will bring their own darts and none will be stored in the snooker room/village hall. |  |  |  |
|  |  | Boiler Room |  |  |  |
|  |  | Is kept clear and tidy |  |  |  |
|  |  | Outside rear |  |  |  |
|  |  | Suitable lights and emergency signs are fitted around the building If emergency lights are not working these will be repaired as part of the regular East Coast Fire reviews | Caretaker / Treasurer to continue to liaise with East Coast Fire |  |  |
|  |  | The side gate provides access from the rear of the hall to the assembly point. | Side gate has been repaired |  |  |
|  |  | Oil tank meets regulations and is inspected regularly |  |  |  |
|  |  | The back garden is kept tidy with clear access. |  |  |  |
| Vehicle movement |  |  |  |  |  |
|  | Pedestrians could suffer serious injury if struck by traffic on main road | Emergency exits: |  |  |  |
|  |  | Cross hatched boxes painted outside two main exits. Provision of hatched areas reduces potential pedestrian congestion and gives clear sight of traffic on the road. If emergency lights are not working these will be repaired as part of the regular East Coast Fire reviews Sign displayed indicating Assembly Point is in the church yard across the main road. Main hall and kitchen exits lead straight out onto the parking area near the assembly point |  |  |  |
|  |  | Car Park: |  |  |  |
|  |  | Tarmac Surface in good repair, protection round downpipes and drains | Designated pathway and disabled parking would be impractical due to space constraints Lighting considered but impractical due to volume of passing traffic |  |  |
| Manual handling |  |  |  |  |  |
|  | Users may suffer injury when moving heavy or awkward objects, e.g. tables and chairs | Trolley provided for storing tables, also for moving the chairs. Signage provided on the stage highlighting manual handling risk. | Users reminded to work with a colleague/ team working for moving heavier items in a notice |  |  |
| Stored equipment |  |  |  |  |  |
|  | Users could be injured by falling stacks or objects falling out of cupboards | Cupboards are tidy and not overfilled. Carpet |  |  |  |
|  |  | An inventory is kept for insurance purposes |  |  |  |
|  |  | Tables and chairs stacked neatly on stage. Carpet bowls equipment to be moved by two or more people. | A laminated photo provided to show the how chairs and tables should be stacked safely. |  |  |
| Lone working |  |  |  |  |  |
|  | Persons (e.g. cleaner) working alone could suffer injury and be unable to summon assistance | WIFI and use of WIFI Calling/Text provides a means for a lone worker to summon assistance if required |  |  |  |
|  |  | The law says employers must assess and control risks in the workplace but there is no legal requirement to conduct a separate, specific risk assessment for lone workers. |  |  |  |
| Working at height |  |  |  |  |  |
| e.g. changing light bulbs, cleaning, decorating | Anyone working at height could suffer injury should they fall | Appropriate commercial step ladder available, locked in the Boiler Room. Anyone working at height must be accompanied. | Users reminded that they must not work at height alone and must not stand on a chair to work at height in ‘reminders’ notice. |  |  |
| Hazardous substances |  |  |  |  |  |
| e.g. cleaning products | Cleaners and hall users risk skin irritation, eye damage or breathing problems from use of cleaning materials | There are no specific irritants or hazardous materials on site. Paint is locked away and only day to day cleaning materials are in the kitchen. |  |  |  |
| Kitchen and food preparation |  |  |  |  |  |
| General | Hall users may be injured if they trip over objects or slip on spillages. | Good housekeeping and a suitable floor surface (carpet). Work areas kept tidy, goods stored suitably. Kitchen equipment is maintained to prevent leaks onto the floor. Hall users clean up spillages (including dry spills) immediately using suitable methods and leave the floor dry. Suitable cleaning materials available. Good lighting in all areas. No trailing cables or obstruction in walkways. |  |  |  |
| Slips and trips |  |  | Users reminded to maintain good housekeeping and wear suitable footwear in a notice. |  |  |
| Manual Handling - Heavy items such as flour sacks, ingredients, boxes of meat, trays of crockery, kegs etc | Clients/ committee members may suffer injuries such as strains or bruising from handling heavy/bulky objects. | Ingredients bought in package sizes that are light enough for easy handling. Commonly used items and heavy stock stored on shelves at waist height. Suitable mobile steps provided and staff trained to use them safely. Handling aids provided for movement of large/heavy items. Sink at a good height to avoid stooping. Carpet bowls mats are to be lifted according to manual handling guidelines. | Users reminded to work with a colleague/ team working for moving heavier items in a notice Additional signage to be provided for manual handling in the kitchen. | JH to source and display an additional manual handling notice to be displayed in the kitchen Completed November 2024 |  |
| Contact with steam, hot water, hot oil and hot surfaces | Kitchen staff and food service staff may suffer scalding or burns injuries. | Hall users undertake their own training in risks of hot oils, liquids and steam. Water mixer taps provided. All staff are reminded to wear long sleeves in a notice. Heat-resistant gloves/cloths/aprons to be used (Provided by hall-users) | ‘Hot water’ signs at sinks and ‘hot surface’ signs at hot plates |  |  |
| Knives | Hall users involved in food preparation and service could suffer cuts from contact with Blades. | Hall users undertake their own training to handle knives. Knives to be suitably stored when not in use. First aid box provided. |  |  |  |
| Food handling | Frequent hand washing can cause skin damage. Some foods can cause users to develop skin allergies. | Where possible, use tools (cutlery, tongs, scoops etc) to handle food rather than hands. Food grade, single‑ use, non-latex gloves should be used for tasks that can cause skin problems, such as salad washing, vegetable peeling and fish filleting (to be provided by the user). Where handling cannot be avoided, hands are rinsed promptly after finishing the task. |  |  |  |
| Contact with bleach and other cleaning chemicals | Prolonged contact with water, particularly in combination with detergents, can cause skin damage. Staff cleaning the kitchen risk skin irritation or eye damage from direct contact with bleach and other cleaning products. Vapour may cause breathing problems. | All containers clearly labelled. Where possible, cleaning products marked ‘irritant’ are not purchased and milder alternatives bought instead. Child lock provided on the cupboard under the corner sink. Long-handled mops and brushes, and strong rubber gloves used (gloves provided by the user). |  |  |  |
| Electrical |  |  |  |  |  |
|  | Staff could suffer serious/fatal injuries as a result of electric shock. | System inspected and tested by an electrician every five years (EICR). Users check equipment before use and to report any defective plugs, discoloured sockets or damaged cable/ equipment. Staff know where the fuse box is and how to safely switch off electricity in an emergency. Plugs, sockets etc suitable for kitchen environments. Access to the fuse box kept clear. Residual current devices (RCDs) installed on supplies to hand-held and portable appliances. |  |  |  |
| Fire |  |  |  |  |  |
|  | If trapped, users could suffer serious injury from smoke inhalation and/or burns | Fire Officer inspection: |  |  |  |
|  |  | Good notes from Fire Officer visit in December 2019 | Caretaker to continue to liaise with East Coast Fire for regular inspections. |  |  |
|  |  | Alarm system |  |  |  |
|  |  | Full system review by East Coast Fire who have installed a new hard wired system. Documented weekly checks for the alarm and monthly for the emergency lighting, registered in the kitchen. Fire escape routes, exits and emergency lighting: |  |  |  |
|  |  | Exits |  |  |  |
|  |  | Generally well marked and clear of obstructions, diagrams posted in key positions showing escape routes Additional directional signs secured to emergency lights provided by East Coast Fire. |  |  |  |
|  |  | Fire extinguishers provided throughout the building |  |  |  |
|  |  | Emergency Contact Details |  |  |  |
|  |  | Emergency contact details of committee members are given when booking |  |  |  |
|  |  | Fire extinguishers: |  |  |  |
|  |  | Fire extinguisher inspection completed regularly by East Coast Fire |  |  |  |
|  |  | Position and type of fire extinguishers and fire blanket reviewed with East Coast Fire |  |  |  |
|  |  | Emergency lighting: |  |  |  |
|  |  | Suitable lights and emergency signs are fitted around the building |  |  |  |
|  |  | Assembly point: |  |  |  |
|  |  | New directional signage displayed |  |  |  |
| Electrical appliances |  |  |  |  |  |
|  | Users risk electric shock from faulty equipment or installation EICR Electrical Test every 5 years | PAT testing completed regularly. EICR Electrical Test due January 2024? Hall users are reminded that their own electrical appliances should have passed a current PAT test in the ‘reminders’ notice. | PAT testing completed every 2 years EICR completed every 5 years Caretaker to continue to liaise with Treasurer |  |  |
| Oil/Boiler |  |  |  |  |  |
|  | Potential source of CO and fire hazard if not properly maintained | Boiler serviced November 2023 | Boiler serviced annually. Caretaker to continue to liaise with Treasurer and Ryedale Burners. |  |  |
| First Aid and Accident reporting |  |  |  |  |  |
|  | Minor injuries cannot be treated quickly on site | St.John's Ambulance first aid kit in the kitchen Caretaker/secretary to check the first aid kit monthly Accident Book and Health & Safety Policy kept in the kitchen near the notice board Users to be reminded to make arrangements for first aid in a notice |  |  |  |
| Asbestos |  |  |  |  |  |
|  | Only poses a serious risk if fibres are released into the air, e.g. during maintenance or alterations | The Fire Inspection report notes no requirement for an asbestos survey |  |  |  |
| Martyn’s Law |  |  |  |  |  |
|  |  | The Bill was introduced to Parliament on 12 September 2024 and is currently undergoing Parliamentary scrutiny. The legislation aims to improve the security of public venues and events, and to prepare businesses and organisations to deal with terrorist threats. The bill includes two tiers of requirements based on the maximum occupancy of a premises: Standard tier: Applies to premises with a maximum occupancy of 100–799 people Enhanced tier: Applies to premises with a maximum occupancy of 800 or more people | The current capacity of the hall is 80 people. No date has been set for the introduction of the law. Committee members to check regularly for updates. |  |  |
| Covid 19 |  |  |  |  |  |
|  | Risk of transmission of the virus to other hall users | Covid 19 Risk Assessment file documents all procedures in place for the Village Hall No specific Covid 19 restrictions are currently in force. |  |  |  |
| Specific Events/ Activities |  |  |  |  |  |
|  | All hall users at risk of harm in specific events | All hall users should conduct their own risk assessments for specific hazards in their specific activities. |  |  |  |